## Sheet1
Prilog uz konkursnu dokumentaciju JN 15/19
Partija broj | Naziv | Opis | Napomena | Količina | Jedinica mere | Cena po jedinici mere bez PDV-a | Ukupno bez PDV-a( kolona 5x kolona 7) | Ukupno sa PDV-om ( kolona 8x PDV) | Proizvođač
1 | Balon, jednogrli, 100 mL | stakleni, okruglo dno, sa šlifom NŠ 29 |  | 10 | ком.
2 | Balon, jednogrli, 250 mL | stakleni, okruglo dno, sa šlifom NŠ 29 | borsilikatno staklo | 2 | ком.
3 | Balon, jednogrli, 50 mL | okruglo dno, sa šlifom NŠ 29 | borsilikatno staklo | 3 | ком.
4 | Balon, jednogrli, 50 mL | stakleni, okruglo dno, sa šlifom NŠ 14 |  | 10 | ком.
5 | Balon, jednogrli, 500 mL | stakleni, okruglo dno, sa šlifom NŠ 29 | borsilikatno staklo | 1 | ком.
6 | Balon, trogrli, 100 mL | stakleni, okruglo dno, sa šlifovima 1*NŠ 19 i 2*NŠ 14 | 1*NŠ 19 i 2*NŠ 14 | 2 | ком.
7 | Balon, trogrli, 100 mL | stakleni, okruglo dno, sa šlifovima 1*NŠ 29 i 2*NŠ 14 |  | 2 | ком.
8 | C5 kolona za reverzno faznu hromatografiju (HPLC) | veličina čestica 5 m, L × I.D. 10 cm × 4.6 mm, čestice na bazi silike sa pentil grupama, | proizvođač Supelco, kataloški broj 568421-U ili odgovarajuće | 1 | ком.
9 | Centrifuge tube | 15 mL, glass, with rim, conical bottom | non graduated, up to 5000 RCF, wall thickness min 1,0 mm | 100 | ком.
10 | Četkica za pranje epruveta | broj 2 |  | 3 | ком.
11 | Četkica za pranje epruveta | broj 3 |  | 3 | ком.
12 | Četkica za pranje epruveta | broj 4 |  | 3 | ком.
13 | Četkica za pranje epruveta | broj 5 |  | 3 | ком.
14 | Column nut for GC capillares | (ulaz na inlet) | 2 kom/pk, https://www.agilent.com/store/productDetail.jsp?catalogId=5181-8830 ili odgovarajuće | 2 | пак.
15 | Column nut for MS interface |  | https://www.agilent.com/store/productDetail.jsp?catalogId=05988-20066 ili odgovarajuće | 1 | ком.
16 | Držač za eze | Dužina drške (od mesinga ili inoksa) je oko 250 mm, sa plastičnom drškom na kraju | Proizvođać: Schuett-biotec GmbH ili ekvivalent | 10 | ком.
17 | Dupla kašika | metalna, dužina 210 mm, široka | dostaviti uzorak! | 1 | ком.
18 | Dupla špatula | metalna, dužina 150 mm, uska | dostaviti uzorak! | 1 | ком.
19 | Ependorf tube | 1.5 mL, safe lock, 1000 kom/pak | Ependorf ili odgovarajuće, dostaviti uzorak | 2 | пак.
20 | Ependorfi 1.5 mL | mikrotube 1,5 mL, nesterilne | Sarsted,Thermo Scietific ili odgovarajuće, dostaviti uzorak! | 8 | пак.
21 | eza | Žica od inoksa za eze, prečnik kruga 3 mm, od inoksa | Cat. No.3.686 232, Proizvođać: Schuett-biotec GmbH ili ekvivalent | 10 | ком.
22 | Ferrule | 0.4 mm id, 15% graphite/85%Vespel, 0.1 to 0.25 mm column, 10/pk | https://www.agilent.com/store/productDetail.jsp?catalogId=5181-3323 ili odgovarajuće | 1 | пак.
23 | FILAMENT Assembly EI |  | https://www.agilent.com/store/productDetail.jsp?catalogId=G7005-60061 ili odgovarajuće | 1 | ком.
24 | Filter za špric, PTFE | 25 mm, 0.45 μm | pakovanje od 100 komada | 1 | пак.
25 | Fiole (vials) 4mL navoj 13-425 | staklene, svetle, pakovanje od 100 komada sa melaminskim zatvaračem sa teflonskom oblogom | https://www.sigmaaldrich.com/catalog/product/supelco/27138?lang=en&region=SX ili odgovarajuće | 1 | ком.
26 | Glass filter, solvent inlet | 20 µm, for Agilent 1200 Infinity Series | https://www.agilent.com/store/productDetail.jsp?catalogId=5041-2168 ili odgovarajuće | 2 | ком.
27 | Glass Pasteur pipettes | Total lenght ≥ 300 mm, Lenght of tip 195 mm, Tip outer 1,3 mm, pakovanje 500 komada |  | 1 | пак.
28 | Glass Vials with Screw Caps | maks kapacitet 4 ml | pakovanje od min 140 kom | 1 | пак.
29 | Hirsch funnel (Hirsov levak) | keramicki, kapacitet 10 mL | keramicki, kapacitet 10 mL | 2 | ком.
30 | Hirsch funnel (Hirsov levak) | keramicki, kapacitet 20-25 mL | keramicki, kapacitet 20-25 mL | 3 | ком.
31 | Inlet liner direct | 1.5 mm id, for gas samples, head space , purge&trap | 5 kom/pk, https://www.agilent.com/store/productDetail.jsp?catalogId=5190-4006 ili odgovarajuće | 1 | пак.
32 | Insert for screw vials | ND9, glass, 0,1 mL, clear, conical 15 mm tip, O.D. 6 mm, outer height 31 mm, pack of 100 | dostaviti uzorak | 5 | пак.
33 | Internal nut | CFT capillary fitting | https://www.agilent.com/store/productDetail.jsp?catalogId=G2855-20530 ili odgovarajuće | 2 | ком.
34 | Kese za sterilizaciju/HIMEDIA, HiDispoBag-34, 50/1 pak | pakovanje od 50 kom | dva pakovanja od 50 kesa | 2 | ком.
35 | Kvarcna kiveta za spektrofotometar | optički put 10mm, Hellma ili ekvivalent | sa poklopcem | 2 | ком.
36 | Kvarcna kiveta za spektrofotometar | optički put 10mm, Hellma ili ekvivalent |  | 8 | ком.
37 | Laboratorijska čaša, 150 mL | staklena, niska forma, sa kljunom | borsilikatno staklo | 5 | ком.
38 | Laboratorijska čaša, 250 mL | staklena, niska forma, sa kljunom | borsilikatno staklo | 3 | ком.
39 | Laboratorijska čaša, 600 mL | staklena, niska forma | borsilikatno staklo | 3 | ком.
40 | Laboratory bottle with DIN thread GL 25 | kapacitet 25 ml, standard iso 4796-1, USP standard; With screw-cap and pouring ring (PP, blue), clear | d 36 mm; h 74 mm | 10 | ком.
41 | Laboratory bottles 1000 mL | Borosilicate glass 3.3, GL 45, with PP screw cap | dostaviti uzorak | 10 | ком.
42 | Laboratory bottles 250 mL | Borosilicate glass 3.3, GL 45, with PP screw cap | dostaviti uzorak | 10 | ком.
43 | Laboratory bottles 500 mL | Borosilicate glass 3.3, GL 45, with PP screw cap | dostaviti uzorak | 10 | ком.
44 | Levak kvalitativni | stakleni, 10 cm |  | 5 | ком.
45 | Liner | Ultra inlet, splitless,dimpled,2mm id | 5 kom/pk, https://www.agilent.com/store/productDetail.jsp?catalogId=5190-3165 ili odgovarajuće | 1 | пак.
46 | Liner O-ring |  | 10 kom/pk, https://www.agilent.com/store/productDetail.jsp?catalogId=5188-5365 ili odgovarajuće | 1 | пак.
47 | LINER splitless (with glasswool) |  | 5 kom/pk, https://www.agilent.com/store/productDetail.jsp?catalogId=5190-3163 ili odgovarajuće | 1 | пак.
48 | Mikrotuba sa poklopcem (Eppendorf) | 1.5 mL, nesterilna, plastična (PE ili PP) |  | 1000 | ком.
49 | Mikrotuba sa poklopcem (Eppendorf) | 1.5 mL, nesterilna, plastična (PE ili PP) |  | 2000 | ком.
50 | Mikrotuba sa poklopcem (Eppendorf) | 2 mL, plastična (PE ili PP), graduisana, sa prostorom za obeležavanje | dostaviti uzorak! | 1000 | ком.
51 | Mikrotuba sa poklopcem (Eppendorf) | 2 mL, plastična (PE ili PP), graduisana, sa prostorom za obeležavanje |  | 1000 | ком.
52 | Mikrotuba sa poklopcem (Eppendorf) | 2 mL, plastična (PE ili PP), graduisana, sa prostorom za obeležavanje | dostaviti uzorak! | 1000 | ком.
53 | mikrotube (reaction tubes) | 0,5 mL, PP, colourless, safety closure, pack of 500 | dostaviti uzorak! | 4 | пак.
54 | Mikrotube sa poklopcem, 1,5 ml | mikrotube sa poklopcem, nesterilne, zapremina 1,5 ml, pakovanje 500 - 1000 komada | Sarsted,Thermo Scietific ili odgovarajuće, dostaviti uzorak! | 6 | пак.
55 | Mikrotube sa poklopcem, 1,5 ml | mikrotube sa poklopcem, nesterilne, zapremina 1,5 ml, pakovanje 500 - 1000 komada | Sarsted,Thermo Scietific ili odgovarajuće, dostaviti uzorak! | 16 | пак.
56 | Reducir, Muški NŠ 19, ženski NŠ 29 |  |  | 1 | ком.
57 | Nastavci za automatske pipete, 0.1-10 μL, kraća forma | Eppendorf, LLG | dostaviti uzorak! | 2000 | ком.
58 | Nastavci za automatske pipete, 1-200 uL | žuti, Brand ili odgovarajuće 1000 kom/pak | dostaviti uzorak | 3 | пак.
59 | Nastavci za automatske pipete, 100 uL, 1000 kom/pak | Kompatibilno sa Rainin pipetama | dostaviti uzorak | 2 | пак.
60 | Nastavci za automatske pipete, 100-1000 uL, 1000 kom/pak | plavi, Brand ili odgovarajuće | dostaviti uzorak | 2 | пак.
61 | Nastavci za automatske pipete, 100-1000 μL | Eppendorf | dostaviti uzorak! | 2000 | ком.
62 | Nastavci za automatske pipete, 100-1000 μL | Eppendorf | dostaviti uzorak! | 2000 | ком.
63 | Nastavci za automatske pipete, 100-1000 μL | Gilson | dostaviti uzorak! | 1000 | ком.
64 | Nastavci za automatske pipete, 2-200 μL | Eppendorf | dostaviti uzorak! | 6000 | ком.
65 | Nastavci za automatske pipete, 2-200 μL | Eppendorf, LLG | dostaviti uzorak! | 3000 | ком.
66 | Nastavci za automatske pipete, 2-200 μL | Gilson | dostaviti uzorak! | 3000 | ком.
67 | Nastavci za automatske pipete, 2-200 μL | Socorex | dostaviti uzorak! | 3000 | ком.
68 | Nastavci za automatske pipete, 5000 μL | Brandt | dostaviti uzorak! | 500 | ком.
69 | Nastavci za automatske pipete, 5000 μL | Gilson | dostaviti uzorak! | 500 | ком.
70 | Nastavci za pipete od 1000 uL, nesterilni, pakovanje od 500 ili 1000 kom | nesterilini | Sarsted,Thermo Scietific ili odgovarajuće, dostaviti uzorak! | 10 | пак.
71 | Nastavci za pipete od 200 uL, nesterilni, pakovanje od 1000 kom | nesterilni | Sarsted,Thermo Scietific ili odgovarajuće, dostaviti uzorak! | 10 | пак.
72 | Pasterove pipete | nesterilne | Sarsted,Thermo Scietific ili odgovarajuće, dostaviti uzorak! | 2 | пак.
73 | Plastična kiveta sa zatvaračem / 50 mL sa stopom; |  | dostaviti uzorak! | 500 | ком.
74 | Precision low-temperature thermometer, glass | Range: - 100 to + 30 degrees Celsius, Length 300 mm, Alcohol filling |  | 2 | ком.
75 | Propipeta gumena | prirodna guma, stakleni zaštitni ventil, univerzalna veličina za pipete do 100 mL |  | 20 | ком.
76 | PTFE frits, 5/pk. | For 1290 Infinity Binary Pumps (G4220A/B)and all 1260 Infinity/1200 Series/1100 Series analytical pumps | https://www.agilent.com/store/productDetail.jsp?catalogId=01018-22707 ili odgovarajuće | 1 | ком.
77 | Screw cap | N13, black, PP, closed top, red rubber/FER colourless, hardness 40r shore, thickness 1.5 mm, pack of 100 | dostaviti uzorak! | 2 | пак.
78 | Screw cap, headspace steel | magnetic cap | samo poklopci, 100 kom/pk, https://www.agilent.com/store/productDetail.jsp?catalogId=5188-2759 ili odgovarajuće | 1 | пак.
79 | Septa, for screw top caps | certified, PTFE/red silicone, 100/pk. Septum size: 9 mm (for 12 mm cap) | dostaviti uzorak, https://www.agilent.com/store/productDetail.jsp?catalogId=5182-0731 ili odgovarajuće | 1 | пак.
80 | Špatula | čelična, dužina 180 mm | dostaviti uzorak! | 1 | ком.
81 | SPE manifold LONG Valve Stopcock | 20 kom/pak | da odgovara manifoldu proizvođača Agilent, dostaviti uzorak | 1 | пак.
82 | SPE Manifold LONG Valve Stopcock | Da odgovara Manifoldu proizvođača Agilent | 20 kom/pak, dostaviti uzorak | 1 | пак.
83 | Stakene bočice sa punim teflonskim čepom | zapremina 12 mL | dostaviti uzorak | 1 | пак.
84 | Staklene bocice sa punim teflonskim cepom | zapremina 12 mL | 100 kom/pak | 1 | пак.
85 | Tension cord, for GC/HTC needle guide |  | https://www.agilent.com/store/productDetail.jsp?catalogId=G6500-88014 ili odgovarajuće | 1 | ком.
86 | Tension cord, injection unit, black, 280 mm |  | https://www.agilent.com/store/productDetail.jsp?catalogId=G6500-88005 ili odgovarajuće | 1 | ком.
87 | Thread bottles 12 mL | thread 15-425, 66x18.5 mm, clear glass, 1st.hydrol.cl., pack of 100 | dostaviti uzorak | 1 | пак.
88 | Thread bottles 8 mL | thread 15-425, 61x16.6 mm, clear glass, 1st.hydrol.cl., pack of 100 | dostaviti uzorak | 1 | пак.
89 | TLC Silica gel 60 F254 25 | 25 Aluminium sheets 20 x 20 cm; Specific surface area (according to BET; 5-Pt. measurement); 480 - 540 m2/g | Merck ili ekvivalent | 3 | пак.
90 | Vial, screw top, clear, write-on spot | certified, clear vials, blue caps, PTFE/red silicone septa, 2 mL, 100/pk. Vial size: 12 x 32 mm (12 mm cap) | https://www.agilent.com/store/productDetail.jsp?catalogId=5182-0553,ili odgovarajuće, dostaviti uzorak | 8 | пак.
91 | Vial, screw top, headspace | clear , 20ml, 23x75mm | dostaviti uzorak, samo bočice, 100 kom/pk, https://www.agilent.com/store/productDetail.jsp?catalogId=5188-2753 ili odgovarajuće | 1 | пак.
92 | Viala 4 mL | Screw Neck Vial N 13, 4ml, O.D.: 14.75mm,, outer height: 45 mm, clear, flat bottom pack, of 100pcs | dostaviti uzorak | 1 | пак.
93 | Ženski NŠ 14, muški NŠ 19 |  |  | 2 | ком.
94 | Nastavci za automatske pipete, 30-300 μL | kompatibilni sa Thermo automatskim pipetama | dostaviti uzorak! | 1000 | ком.
95 | Mikrotuba sa poklopcem (Eppendorf) | 0.5 mL, nesterilna, plastična (PE ili PP), graduisana, sa prostorom za obeležavanje | dostaviti uzorak! | 1000 | ком.
96 | Mikrotuba sa poklopcem (Eppendorf) | 2 mL, nesterilna, plastična (PE ili PP), fi=10.8 mm, visina 39 mm, graduisana, sa prostorom za obeležavanje | dostaviti uzorak! | 1000 | ком.
97 | kvarcna kiveta za spektrofotometriju sa poklopcem (lid) | semi-mikro kiveta, optički put 10 mm, spoljašnje dimenzije 45 mm x 12.5 mm x 12.5 mm, crni bočni zidovi, spektralni opseg 190 nm- 2500 nm, zapremina 1,4 mL |  | 1 | kom.
98 | kvarcna kiveta za spektrofotometriju sa poklopcem (lid) | mikro kiveta, optički put 10 mm, spoljašnje dimenzije 45 mm x 12.5 mm x 12.5 mm, crni bočni zidovi, spektralni opseg 190 nm- 2500 nm, zapremina 0,7 mL |  | 1 | kom.
99 | kvarcna kiveta za spektrofotometriju sa poklopcem (lid) | mikro kiveta, optički put 10 mm, spoljašnje dimenzije 45 mm x 12.5 mm x 12.5 mm, crni bočni zidovi, spektralni opseg 190 nm- 2500 nm, zapremina 0,35 mL |  | 1 | kom.
100 | Mikro kvarcna kiveta za spektrofluorimetar | zapremine 0,4 mL, za spektralni opseg od 200 do 2500 nm, sa 4 prozora, dužina optičkog puta 10 x 2 mm, sa teflonskim poklopcem (lid), spoljasnje dimenzije: 45 mm × 12.5 mm × 12.5 mm, Hellma ili ekvivalent |  | 1 | kom.
101 | Semimikro kvarcna kiveta za spektrofluorimetar | zapremine 1,400 ml, za spektralni opseg od 200 do 2500 nm, sa 4 prozora, dužina optičkog puta 10 x 4 mm, spoljasnje dimenzije 45 mm × 12.5 mm × 12.5 mm, sa teflonskim stoperom, Hellma ili ekvivalent |  | 1 | kom.
102 | nastavci za pipete ispunjeni C18 reverzno-faznim matriksom, za pipete od 100 mikrolitara (ZipTips) | capacity: each tip can bind up to 80 μg (100 μL) of total peptide. Each tip contains a monolithic C18 reversed-phase sorbent that minimizes flow resistance and provides excellent binding and recovery characteristics at a wide range of peptide concentrations. Tips should be declared to remove interfering contaminants and release peptides in MS-compatible solutions, resulting in increased sensitivity and high-quality spectra. Primarily dedicated for MS applications, but also shold be used for peptide concentration and clean-up for peptide sequencing. |  | 1 | pakovanje
103 | ZOOM™ IPGRunner™ Cassette 10 cassettes per pack, for rehydratation of 7.0 cm ZOOM Strips and isoelectric focusing of up to six 7.0 cm ZOOM Strips (IPG strips) |  |  | 1 | pakovanje
104 | SERVA IPG BlueStrip 3-10 NL / 7 cm, 70 x 3 x 0.5 mm, 12 strips 1 |  |  | 1 | pakovanje
105 | IEF Marker 3-10, Liquid Mix, 500ul |  |  | 1 | pakovanje
106 | Bireta po Schellbachu od 10 mL, raspodela 0,02 ml, plava graduacija, prava sa teflonskom slavinom, klasa AS | Schellbach line for easier reading, declaration of conformity acc. to DIN 12600 ili 12700, high-contrast blue graduations, main point ring graduation at major subdivisions, EX (TD) calibrated, acc. to DIN EN ISO 385. Scale length approx. 500mm. | dostaviti uzorak | 50 | ком.
107 | Bireta po Schellbachu od 50 mL, raspodela 0,1 ml, plava graduacija, prava sa teflonskom slavinom, klasa AS | Schellbach line for easier reading, declaration of conformity acc. to DIN 12600 ili 12700, high-contrast blue graduations, main point ring graduation at major subdivisions, EX (TD) calibrated, acc. to DIN EN ISO 385. Scale length approx. 500mm. | dostaviti uzorak | 50 | ком.
108 | Klema za kondenzator | viljuškasta, od hromiranog čelika, sa viljuškama prevučenim PVC-om, 2 odvojena podesiva šrafa za pritezanje, debljina šipke 12mm, maksimalni otvor 70 mm, otporno na koroziju |  | 10 | ком.
109 | kvarcna cev | spoljasnji precnik 38 mm | duzina 1 m | 1 | ком.
110 | kvarcna cev | spoljasnji precnik 8 mm | duzina 1 m | 3 | ком.
111 | Pasterova pipeta, plasticna (PE ili PP), 5 mL | graduisana, nesterilna | dostaviti uzorak! | 1000 | ком.
112 | Pasterova pipeta, plasticna (PE ili PP), 3 mL | graduisana, nesterilna | dostaviti uzorak! | 1000 | ком.
113 | Silikonsko crevo, za vakuum | unutrašnji prečnik 6 mm, spoljašnji 14 mm |  | 3 | m
114 | sinter disk, fi 100 mm | poroznost 3 | borsilikatno staklo | 5 | ком.
115 | Stakleni slif 60/46 | par: muski + zenski | borsilikatno staklo; DIN / ISO standard za slif | 4 | ком.
116 | Termometar, obični, do 360°C | sa alkoholnim punjenjem |  | 54 | ком.
117 | Nastavci za automatske pipete, 0.5-20 μL | BRAND ili ekvivalent odgovarajuci zbog pipeta koje vec postoje | dostaviti uzorak! | 1 | пак.
118 | Nastavci za automatske pipete, 100-1000 μL | RAININ | dostaviti uzorak! | 500 | ком.
119 | Nastavci za automatske pipete, 5000 μL | RAININ PIPETA | dostaviti uzorak! | 200 | ком.
120 | Nastavci za automatske pipete, 500-5000 μL | BRAND ili ekvivalent odgovarajuci zbog pipeta koje vec postoje | dostaviti uzorak! | 2 | пак.
121 | Menzura, 500 mL | visoka forma | borsilikatno staklo, bez plastičnih delova | 5 | ком.
122 | Menzura, 1000 mL | visoka forma | borsilikatno staklo, bez plastičnih delova | 5 | ком.
123 | nastavci za pipete ispunjeni C18 reverzno-faznim matriksom, direktno vezani za nastavak bez lepljenja sa varijabilnom zapreminom od 10 do 200 ul za nastavke od 200 ul (HyperSepTips) | capacity: each tip can bind up to 80 μg (variable volume from 10 ul to 200 μL) of total peptides. Faster sample preparation with minimal sample loss with these Hyper separation micropipette tips that have directly attached C18 matrix with particle size from 40-60 A and achieve separation in volumes as low as 100nL, at a wide range of peptide concentrations. Tips should be declared to remove interfering contaminants and release peptides in MS-compatible solutions, resulting in increased sensitivity and high-quality spectra. Primarily dedicated for MS applications, but also shold be used for peptide concentration and clean-up for peptide sequencing. | pakovanje od 96 komada | 2 | пак.